## Meta_Data
SAMPLE_TYPE | VARIABLE | LABEL
MACRO | PUBLICATION_DATE | Publication Date
MACRO | UID | Unique site visit ID
MACRO | SITE_ID | Identification code for site
VERIF | DATE_COL | Date of sample collection
VERIF | VISIT_NO | Sequential number of visit to site ¦1¦2
DESIGN | STATE | State lake is assigned to for sampling in NLA 2012
MACRO | LINE | Line
PROF | ARRIVAL_TIME | Time of arrival to index site (datetime)
CALIB | CAL_INST_ID | ID of calibration instrument
CALIB | CAL_INST_MODEL | Calibration instrument model
CALIB | CAL_INST_OPERATOR | Name of calibration instrument operator
CALIB | CALIBRATION_VERIFIED | Calibration verified ¦Y¦N
CALIB | CON_STD1_VALUE | Conductivity standard 1 value
CALIB | COND_QCS_DESC | Conductivity quality control sample description
CALIB | COND_QCS_MEASURED | Measurement for conductivity quality control sample (uS/cm)
CALIB | COND_QCS_TRUE | True for conductivity quality control sample (uS/cm)
CALIB | COND_STD1_DESC | Conductivity standard 1 description
CALIB | COND_STD1_VALUE | Conductivity standard 1 value
CALIB | COND_STD2_DESC | Conductivity standard 2 description
CALIB | COND_STD2_VALUE | Conductivity standard 2 value
PROF | CONDUCTIVITY | Conductivity for index profile (uS/cm)
PROF | DEPTH | Depth for profile measurements (m)
PROF | DEPTH_METHOD | Method for depth measurements ¦LINE¦SONAR¦POLE¦ESTIMATE
CALIB | DO_BARO_PRESSURE | Barometric pressure for DO reading
CALIB | DO_CALIBRATION_UNITS | Units for DO Calibration ¦PERCENT¦mg/L
CALIB | DO_CALIBRATION_VALUE | DO Calibration value
CALIB | DO_DISPLAYED_UNITS | DO displayed units ¦PERCENT¦mg/L
CALIB | DO_DISPLAYED_VALUE | DO displayed value
CALIB | DO_ELEVATION | Elevation for DO reading (mm Hg)
PROF | DO2_2M | Dissolved oxygen averaged over the top 2 m of water
CALIB | DUPLICATE_DO | Duplicate DO reading taken ¦YES¦NO¦Y¦N
PROF | E_FILE | Profile data submitted via external file ¦YES¦NO (Y/N)
PROF | INDEX_GPS_FIX | Type of GPS at the index site (2D, 3D)
PROF | INDEX_LAT_DD | Lattitude in decimal degrees at index site (dd)
PROF | INDEX_LON_DD | Longitude in decimal degrees at index site (dd)
PROF | INDEX_SITE_DEPTH | Depth at the index site
PROF | METALIMNION | Depth indicated for (T)op and (B)ottom of the metalimnion (T/B)
PROF | ODOR | Odor present ¦YES¦NO (Y/N)
PROF | OXYGEN | Oxygen for index profile (mg/L)
PROF | PH | PH for index profile
CALIB | PH_QCS_DESC | PH quality control sample description
CALIB | PH_QCS_MEASURED | Measurement for PH quality control sample
CALIB | PH_QCS_TRUE | True for PH quality control sample
CALIB | PH_STD1_DESC | PH standard 1 description
CALIB | PH_STD1_VALUE | PH standard 1 value
CALIB | PH_STD2_DESC | PH standard 2 description
CALIB | PH_STD2_VALUE | PH standard 2 value
PROF | PRECIPITATION | Precipitation at index site ¦NONE¦LIGHT¦HEAVY
PROF | SCUM | Scum present ¦YES¦NO (Y/N)
PROF | SCUM_DESC | Description of scum
PROF | SURFACE_COND | Lake surface conditions ¦FLAT¦RIPPLES¦CHOPPY¦WHITECAPS
PROF | TEMP_CORRECTED | Conductivity temperature corrected ¦YES¦NO (Y/N)
PROF | TEMPERATURE | Temperature for index profile (°C)